## Slide 1: 10 MHz Reference with GPS Switch Automatically switches from OCXO to GPS
Paul Wade W1GHZ

## Slide 2: Rover Dilemma
Be ready to go – near frequency
  OR
Wait for GPS – accurate frequency
  Better for DX

## Slide 3: W1GHZ 2023
OCXO
GPS
DEMI 10-4 Splitter to 10, 24, & 47 GHz
3 boxes, move cables when GPS locks

## Slide 4: 2024
WA1ZMS found some nice 10 MHz OCXO in dumpster
Integrate with automatic switching
  Detect 10 MHz from GPS
  Switch RF to GPS
  Turn off OCXO
Learn KiCAD program for PCB design
  Error checking
  FREE – share files

## Slide 6: 10 MHz Reference with GPS Switch

## Slide 7: Schematic

## Slide 8: Far Side

## Slide 9: Features
Switches at +7 dBm from GPS
Two 10 MHz outputs with LPF – sine wave
OCXO Frequency trim
Attenuators to match output levels
Pads for cheap oscillator or external OCXO
BUT
Limited supply of OCXO – others won’t fit
OCXO draws serious power – ½ amp at start

## Slide 10: Lower Power Version with more available oscillator
10 MHz oscillator from DEMI
Stable within for a week
New PCB

## Slide 11: Low Power Reference & Switch
Nothing on far side of PCB

## Slide 12: Schematic

## Slide 13: Low Power version Featues
Switches at +7 dBm from GPS
Two 10 MHz outputs with LPF – sine wave
Oscillator Frequency trim
Attenuators to match output levels
~ 100 ma total – leave on
Small parts but hand solderable
  or Toaster Oven
PC boards and oscillators available

## Slide 14: Summary
10 MHz Reference ready to go
Switches when GPS ready
PC boards and oscillator for Low Power version available
Other parts from Mouser
PCB KiCAD files available to customize

## Slide 15
www.w1ghz.org